REQUEST FOR PROPOSALS

Regenstein Macaque Forest HVAC System Installations & Upgrades

Introduction

Lincoln Park Zoo is a historic, 49-acre zoo located in the heart of Chicago. Lincoln Park Zoo cares for more than 170 species, employs almost 300 full-time and seasonal workers, and welcomes 3.6 million visitors annually from around the world. It is committed to Chicago’s communities, offering camps, programs, and events year-round.

Overview

Lincoln Park Zoo is seeking proposals from qualified vendors for the procurement, installation, and upgrading of specific HVAC systems in the zoo’s Regenstein Macaque Forest building.

Scope

- Replacement of One (1) Split Unit in Cognition Booth Area:

  - Removal and disposal of existing split unit.

  - Procurement and installation of one (1) AC/heat split unit. Replacement to be like-for-like in terms of unit type; brand should not be Daikin.

  - Connection to existing electrical supply and control systems.

  - Testing and commissioning of new unit to ensure proper functionality.

  - Reference photos below.

Logistics

- Project Schedule

  - RFP Released: September 4, 2024

  - Proposals Due: September 27, 2024

  - Decision communicated: Week of October 14, 2024

  - Installation Goal: Fall/Winter 2024

- Submission Requirements

  - Provide an overview of the company’s organization, resources, and support capabilities.

  - Provide detailed specifications of equipment including brand, model, capacity, energy efficiency ratings and warranties.

  - Give a detailed breakdown of costs including equipment, labor, materials, and any additional expenses.

  - Include installation plan and timeline.

  - Provide information regarding bidder’s status in the Business Enterprise Program (BEP): Minority Business Enterprise, Women Business Enterprise, etc. Contractors certified as such are preferred.

  - Include your company’s Diversity Statement or policy.

  - Provide a list of current and past projects employing your company’s services that have similar requirements to those of the zoo’s proposal.

  - Successful bidders must comply with the Illinois Prevailing Wage Act.

  - The preferred format for submission is PDF.

- Submission Inquiries and Delivery

  - A site walkthrough may be scheduled if prospective bidders are interested. Please reach out to Project Manager Hannah Sorich via email at hsorich@lpzoo.org for scheduling, or if you have any questions.

  - Please submit your proposals via email to Senior Accountant Emily Stroebel estroebel@lpzoo.org and Project Manager Hannah Sorich at  hsorich@lpzoo.org by September 27, 2024. Late proposals will not be accepted.

Selection Criteria

Selection criteria will include, but not be limited to, the following:

- Quality and suitability of the proposed equipment and installation plans

- Qualifications and experience

- Current and previous comparable projects

- Timeline and budget

Reference Photos